## peak_table
panel | gene | marker_label | marker | is_forward | w_min | w_max | m_min | m_max | w_base | m_base | w_color | m_color | w_height | m_height
S1 | CYP2D6 | CYP2D6_14 | CYP2D6_001 | 1 | 25 | 35 | 27 | 36 | G | A | blue | green | 1000 | 1000
S1 | CYP2D6 | CYP2D6_10B | CYP2D6_002 | 1 | 28 | 38 | 31 | 37 | C | T | black | red | 800 | 1000
S1 | CYP2D6 | CYP2D6_49 | CYP2D6_003 | 0 | 37 | 44 | 39 | 45 | T | A | green | red | 1000 | 1000
S1 | CYP2D6 | CYP2D6_21 | CYP2D6_004 | 1 | 41 | 45 | 42 | 49 | G | C | blue | black | 1000 | 1000
S1 | CYP2D6 | CYP2D6_41 | CYP2D6_005 | 1 | 45 | 50 | 47 | 50 | G | A | blue | green | 1000 | 1000
S1 | CYP2D6 | CYP2D6_52 | CYP2D6_006 | 0 | 50 | 53 | 50 | 55 | G | A | black | red | 1000 | 1000
S1 | CYP2D6 | CYP2D6_18 | CYP2D6_007 | 1 | 53 | 57 | 55 | 59 | G | T | blue | red | 1000 | 1000
S1 | CYP2D6 | CYP2D6_2 | CYP2D6_008 | 0 | 57 | 62 | 59 | 63 | C | T | blue | green | 1000 | 1000
S1 | CYP2D6 | CYP2D6_60 | CYP2D6_009 | 0 | 63 | 68 | 65 | 68 | G | A | black | red | 1000 | 1000
S1 | CYP2D6 | CYP2D6_5 | CYP2D6_010 | 0 | 68 | 73 | 68 | 72 | A | G | red | black | 1000 | 1000
S2 | CYP2D6 | CYP2D6_4 | CYP2D6_011 | 1 | 26 | 32 | 29 | 34 | G | A | blue | green | 1000 | 1000
S2 | CYP2D6 | CYP2D6_3 | CYP2D6_012 | 1 | 33 | 38 | 32 | 36 | A | G | green | blue | 1000 | 1000
S2 | CYP2D6 | CYP2D6_17 | CYP2D6_013 | 1 | 36 | 41 | 38 | 43 | C | T | black | red | 1000 | 1000
S2 | CYP2D6 | CYP2D6_9 | CYP2D6_014 | 1 | 41 | 46 | 39 | 45 | A | G | green | blue | 1000 | 1000
S2 | CYP2D6 | CYP2D6_6 | CYP2D6_015 | 0 | 45 | 49 | 46 | 49 | T | G | green | black | 1000 | 1000
S2 | CYP2D6 | CYP2D6_29 | CYP2D6_016 | 0 | 50 | 55 | 52 | 57 | G | A | black | red | 1000 | 1000
S2 | CYP2D6 | CYP2D6_XN | CYP2D6_017 | 0 | 66 | 73 | 70 | 75 | G | A | black | red | 1000 | 1000

## allele_table
sample | gene | marker | label | panel | direction | base | basetype | min_bin | max_bin | min_height | is_forward | is_detected | peak | size | height | status | message | color
IM015 | CYP2D6 | CYP2D6_001 | CYP2D6_14 | S1 | Forward | G | wildtype | 25 | 35 | 1000 | 1 | TRUE | 32 | 28.46 | 1663 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_001 | CYP2D6_14 | S1 | Forward | A | mutant | 27 | 36 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
IM015 | CYP2D6 | CYP2D6_002 | CYP2D6_10B | S1 | Forward | C | wildtype | 28 | 38 | 800 | 1 | TRUE | 37 | 31.94 | 871 | ok |  | black
IM015 | CYP2D6 | CYP2D6_002 | CYP2D6_10B | S1 | Forward | T | mutant | 31 | 37 | 1000 | 1 | TRUE | 32 | 34.43 | 1507 | ok |  | red
IM015 | CYP2D6 | CYP2D6_003 | CYP2D6_49 | S1 | Reverse | T | wildtype | 37 | 44 | 1000 | 0 | TRUE | 13 | 38.32 | 1122 | ok |  | green
IM015 | CYP2D6 | CYP2D6_003 | CYP2D6_49 | S1 | Reverse | A | mutant | 39 | 45 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_004 | CYP2D6_21 | S1 | Forward | G | wildtype | 41 | 45 | 1000 | 1 | TRUE | 14 | 42.45 | 4680 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_004 | CYP2D6_21 | S1 | Forward | C | mutant | 42 | 49 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
IM015 | CYP2D6 | CYP2D6_005 | CYP2D6_41 | S1 | Forward | G | wildtype | 45 | 50 | 1000 | 1 | TRUE | 16 | 46.6 | 1405 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_005 | CYP2D6_41 | S1 | Forward | A | mutant | 47 | 50 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
IM015 | CYP2D6 | CYP2D6_006 | CYP2D6_52 | S1 | Reverse | G | wildtype | 50 | 53 | 1000 | 0 | TRUE | 17 | 51.64 | 3693 | ok |  | black
IM015 | CYP2D6 | CYP2D6_006 | CYP2D6_52 | S1 | Reverse | A | mutant | 50 | 55 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_007 | CYP2D6_18 | S1 | Forward | G | wildtype | 53 | 57 | 1000 | 1 | TRUE | 14 | 54.41 | 2806 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_007 | CYP2D6_18 | S1 | Forward | T | mutant | 55 | 59 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_008 | CYP2D6_2 | S1 | Reverse | C | wildtype | 57 | 62 | 1000 | 0 | TRUE | 27 | 59.59 | 3683 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_008 | CYP2D6_2 | S1 | Reverse | T | mutant | 59 | 63 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
IM015 | CYP2D6 | CYP2D6_009 | CYP2D6_60 | S1 | Reverse | G | wildtype | 63 | 68 | 1000 | 0 | TRUE | 33 | 66.06 | 2567 | ok |  | black
IM015 | CYP2D6 | CYP2D6_009 | CYP2D6_60 | S1 | Reverse | A | mutant | 65 | 68 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_010 | CYP2D6_5 | S1 | Reverse | A | wildtype | 68 | 73 | 1000 | 0 | TRUE | 40 | 71.68 | 3269 | ok |  | red
IM015 | CYP2D6 | CYP2D6_010 | CYP2D6_5 | S1 | Reverse | G | mutant | 68 | 72 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
IM015 | CYP2D6 | CYP2D6_011 | CYP2D6_4 | S2 | Forward | G | wildtype | 26 | 32 | 1000 | 1 | TRUE | 36 | 29.87 | 2199 | ok |  | blue
IM015 | CYP2D6 | CYP2D6_011 | CYP2D6_4 | S2 | Forward | A | mutant | 29 | 34 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
IM015 | CYP2D6 | CYP2D6_012 | CYP2D6_3 | S2 | Forward | A | wildtype | 33 | 38 | 1000 | 1 | TRUE | 23 | 35.38 | 3847 | ok |  | green
IM015 | CYP2D6 | CYP2D6_012 | CYP2D6_3 | S2 | Forward | G | mutant | 32 | 36 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
IM015 | CYP2D6 | CYP2D6_013 | CYP2D6_17 | S2 | Forward | C | wildtype | 36 | 41 | 1000 | 1 | TRUE | 22 | 38.34 | 2523 | ok |  | black
IM015 | CYP2D6 | CYP2D6_013 | CYP2D6_17 | S2 | Forward | T | mutant | 38 | 43 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_014 | CYP2D6_9 | S2 | Forward | A | wildtype | 41 | 46 | 1000 | 1 | TRUE | 29 | 43.95 | 6106 | ok |  | green
IM015 | CYP2D6 | CYP2D6_014 | CYP2D6_9 | S2 | Forward | G | mutant | 39 | 45 | 1000 | 1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
IM015 | CYP2D6 | CYP2D6_015 | CYP2D6_6 | S2 | Reverse | T | wildtype | 45 | 49 | 1000 | 0 | TRUE | 13 | 46.31 | 7023 | ok |  | green
IM015 | CYP2D6 | CYP2D6_015 | CYP2D6_6 | S2 | Reverse | G | mutant | 46 | 49 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
IM015 | CYP2D6 | CYP2D6_016 | CYP2D6_29 | S2 | Reverse | G | wildtype | 50 | 55 | 1000 | 0 | TRUE | 33 | 53.18 | 3765 | ok |  | black
IM015 | CYP2D6 | CYP2D6_016 | CYP2D6_29 | S2 | Reverse | A | mutant | 52 | 57 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
IM015 | CYP2D6 | CYP2D6_017 | CYP2D6_XN | S2 | Reverse | G | wildtype | 66 | 73 | 1000 | 0 | TRUE | 49 | 70.52 | 4216 | ok |  | black
IM015 | CYP2D6 | CYP2D6_017 | CYP2D6_XN | S2 | Reverse | A | mutant | 70 | 75 | 1000 | 0 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red

## marker_table
sample | gene | marker | label | panel | direction | genotype | phenotype
IM015 | CYP2D6 | CYP2D6_001 | CYP2D6_14 | S1 | Forward | GG | wildtype
IM015 | CYP2D6 | CYP2D6_002 | CYP2D6_10B | S1 | Forward | CT | heterozygous
IM015 | CYP2D6 | CYP2D6_003 | CYP2D6_49 | S1 | Reverse | TT | wildtype
IM015 | CYP2D6 | CYP2D6_004 | CYP2D6_21 | S1 | Forward | GG | wildtype
IM015 | CYP2D6 | CYP2D6_005 | CYP2D6_41 | S1 | Forward | GG | wildtype
IM015 | CYP2D6 | CYP2D6_006 | CYP2D6_52 | S1 | Reverse | GG | wildtype
IM015 | CYP2D6 | CYP2D6_007 | CYP2D6_18 | S1 | Forward | GG | wildtype
IM015 | CYP2D6 | CYP2D6_008 | CYP2D6_2 | S1 | Reverse | CC | wildtype
IM015 | CYP2D6 | CYP2D6_009 | CYP2D6_60 | S1 | Reverse | GG | wildtype
IM015 | CYP2D6 | CYP2D6_010 | CYP2D6_5 | S1 | Reverse | AA | wildtype
IM015 | CYP2D6 | CYP2D6_011 | CYP2D6_4 | S2 | Forward | GG | wildtype
IM015 | CYP2D6 | CYP2D6_012 | CYP2D6_3 | S2 | Forward | AA | wildtype
IM015 | CYP2D6 | CYP2D6_013 | CYP2D6_17 | S2 | Forward | CC | wildtype
IM015 | CYP2D6 | CYP2D6_014 | CYP2D6_9 | S2 | Forward | AA | wildtype
IM015 | CYP2D6 | CYP2D6_015 | CYP2D6_6 | S2 | Reverse | TT | wildtype
IM015 | CYP2D6 | CYP2D6_016 | CYP2D6_29 | S2 | Reverse | GG | wildtype
IM015 | CYP2D6 | CYP2D6_017 | CYP2D6_XN | S2 | Reverse | GG | wildtype

## genotype_result
sample | genotype
IM015 | *1/*10B