## peak_table
package | version | defined_panel | panel | gene | marker | marker_label | is_forward | direction | base | basetype | color | min_height | min_bin | max_bin
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_001 | CYP2D6 *14 | 1 | Forward | G | wildtype | blue | 1000 | 25 | 35
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_001 | CYP2D6 *14 | 1 | Forward | A | mutant | green | 1000 | 27 | 36
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_002 | CYP2D6 *10B | 1 | Forward | C | wildtype | black | 1000 | 28 | 38
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_002 | CYP2D6 *10B | 1 | Forward | T | mutant | red | 1000 | 31 | 37
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_003 | CYP2D6 *49 | 0 | Reverse | T | wildtype | green | 1000 | 37 | 44
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_003 | CYP2D6 *49 | 0 | Reverse | A | mutant | red | 1000 | 39 | 45
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_004 | CYP2D6 *21 | 1 | Forward | G | wildtype | blue | 1000 | 41 | 45
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_004 | CYP2D6 *21 | 1 | Forward | C | mutant | black | 1000 | 42 | 49
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_005 | CYP2D6 *41 | 1 | Forward | G | wildtype | blue | 1000 | 45.1 | 50
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_005 | CYP2D6 *41 | 1 | Forward | A | mutant | green | 1000 | 47 | 50
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_006 | CYP2D6 *52 | 0 | Reverse | G | wildtype | black | 1000 | 50 | 53
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_006 | CYP2D6 *52 | 0 | Reverse | A | mutant | red | 1000 | 50 | 55
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_007 | CYP2D6 *18 | 1 | Forward | G | wildtype | blue | 1000 | 53 | 57
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_007 | CYP2D6 *18 | 1 | Forward | T | mutant | red | 1000 | 55.1 | 59
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_008 | CYP2D6 *2 | 0 | Reverse | C | wildtype | blue | 1000 | 57.1 | 62
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_008 | CYP2D6 *2 | 0 | Reverse | T | mutant | green | 1000 | 59 | 63
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_009 | CYP2D6 *60 | 0 | Reverse | G | wildtype | black | 1000 | 63 | 68
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_009 | CYP2D6 *60 | 0 | Reverse | A | mutant | red | 1000 | 65 | 68
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_010 | CYP2D6 *5 | 0 | Reverse | A | wildtype | red | 1000 | 68.1 | 73
PGx-NP | GM v 4.1 | N-SPM01 | S1 | CYP2D6 | CYP2D6_010 | CYP2D6 *5 | 0 | Reverse | G | mutant | black | 1000 | 68.1 | 73
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_011 | CYP2D6 *4 | 1 | Forward | G | wildtype | blue | 1000 | 30 | 34
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_011 | CYP2D6 *4 | 1 | Forward | A | mutant | green | 1000 | 31.5 | 35.5
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_012 | CYP2D6 *3 | 1 | Forward | A | wildtype | green | 1000 | 36 | 38.5
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_012 | CYP2D6 *3 | 1 | Forward | G | mutant | blue | 1000 | 36.5 | 38.8
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_013 | CYP2D6 *17 | 1 | Forward | C | wildtype | black | 1000 | 39 | 43.5
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_013 | CYP2D6 *17 | 1 | Forward | T | mutant | red | 1000 | 37.5 | 45
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_014 | CYP2D6 *9 | 1 | Forward | A | wildtype | green | 1000 | 42 | 46.3
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_014 | CYP2D6 *9 | 1 | Forward | G | mutant | blue | 1000 | 44.5 | 47
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_015 | CYP2D6 *6 | 0 | Reverse | T | wildtype | green | 1000 | 47.2 | 52
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_015 | CYP2D6 *6 | 0 | Reverse | G | mutant | black | 1000 | 46.5 | 51
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_016 | CYP2D6 *29 | 0 | Reverse | G | wildtype | black | 1000 | 52 | 57
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_016 | CYP2D6 *29 | 0 | Reverse | A | mutant | red | 1000 | 51 | 58
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_017 | CYP2D6 *XN | 0 | Reverse | G | wildtype | black | 1000 | 68.5 | 73
PGx-NP | GM v 4.1 | N-SPM02 | S2 | CYP2D6 | CYP2D6_017 | CYP2D6 *XN | 0 | Reverse | A | mutant | red | 1000 | 70 | 74
PGx-NP | GM v 4.1 | N-SPM02 | S2 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | 1 | Forward | A | wildtype | green | 1000 | 57.5 | 66
PGx-NP | GM v 4.1 | N-SPM02 | S2 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | 1 | Forward | G | mutant | blue | 1000 | 57 | 65
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_001 | HLA-A 368G>A | 1 | Forward | G | wildtype | blue | 1000 | 35 | 41.5
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_001 | HLA-A 368G>A | 1 | Forward | A | mutant | green | 1000 | 36 | 40
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_002 | HLA-A 954T>C | 0 | Reverse | T | wildtype | green | 1000 | 41 | 45
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_002 | HLA-A 954T>C | 0 | Reverse | C | mutant | blue | 1000 | 42 | 45
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_003 | HLA-A 536G>A | 0 | Reverse | G | wildtype | black | 1000 | 42.5 | 46.4
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_003 | HLA-A 536G>A | 0 | Reverse | A | mutant | red | 1000 | 43 | 47.5
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | 0 | Reverse | T | wildtype | green | 1000 | 47 | 52
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | 0 | Reverse | C | mutant | blue | 1000 | 46.5 | 51
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | 0 | Reverse | A | mutant | red | 1000 | 48 | 53.5
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_001 | HLA-B 384C>G | 1 | Forward | C | wildtype | black | 1000 | 53 | 56.5
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_001 | HLA-B 384C>G | 1 | Forward | G | mutant | blue | 1000 | 52.8 | 56
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_002 | HLA-B 667G>A | 1 | Forward | G | wildtype | blue | 1000 | 56.5 | 59.2
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_002 | HLA-B 667G>A | 1 | Forward | A | mutant | green | 1000 | 57.3 | 59.5
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_003 | HLA-B 2156A>T | 0 | Reverse | A | wildtype | red | 1000 | 59 | 65
PGx-NP | GM v 4.1 | N-SPM03 | S3 | HLA-B | HLA-B_003 | HLA-B 2156A>T | 0 | Reverse | T | mutant | green | 1000 | 59.7 | 62
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2B6 | CYP2B6_001 | CYP2B6 *4 | 0 | Reverse | A | wildtype | red | 1000 | 61 | 65
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2B6 | CYP2B6_001 | CYP2B6 *4 | 0 | Reverse | G | mutant | black | 1000 | 60.5 | 64
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2B6 | CYP2B6_002 | CYP2B6 *9 | 0 | Reverse | G | wildtype | black | 1000 | 64.5 | 68
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2B6 | CYP2B6_002 | CYP2B6 *9 | 0 | Reverse | T | mutant | green | 1000 | 64.5 | 67
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_001 | CYP2C19 *17 | 1 | Forward | C | wildtype | black | 1000 | 37.5 | 41.2
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_001 | CYP2C19 *17 | 1 | Forward | T | mutant | red | 1000 | 37 | 41
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_002 | CYP2C19 *2 | 1 | Forward | G | wildtype | blue | 1000 | 47 | 50
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_002 | CYP2C19 *2 | 1 | Forward | A | mutant | green | 1000 | 47.5 | 50.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_003 | CYP2C19 *3 | 0 | Reverse | G | wildtype | black | 1000 | 56.5 | 60
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C19 | CYP2C19_003 | CYP2C19 *3 | 0 | Reverse | A | mutant | red | 1000 | 57 | 60.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_001 | CYP2C9 *3 | 0 | Reverse | A | wildtype | red | 1000 | 44.3 | 49.2
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_001 | CYP2C9 *3 | 0 | Reverse | C | mutant | blue | 1000 | 42 | 46.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_002 | CYP2C9 *13 | 1 | Forward | T | wildtype | red | 1000 | 49.5 | 55
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_002 | CYP2C9 *13 | 1 | Forward | C | mutant | black | 1000 | 49 | 55
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_003 | CYP2C9 *14 | 1 | Forward | G | wildtype | blue | 1000 | 51.5 | 56.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_003 | CYP2C9 *14 | 1 | Forward | A | mutant | green | 1000 | 51 | 57
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_004 | CYP2C9 *2 | 0 | Reverse | C | wildtype | blue | 1000 | 66 | 70
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP2C9 | CYP2C9_004 | CYP2C9 *2 | 0 | Reverse | T | mutant | green | 1000 | 67.5 | 71
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP3A4 | CYP3A4_002 | CYP3A4 *22 | 1 | Forward | C | wildtype | black | 1000 | 40 | 44.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP3A4 | CYP3A4_002 | CYP3A4 *22 | 1 | Forward | T | mutant | red | 1000 | 40.5 | 43.5
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP3A5 | CYP3A5_001 | CYP3A5 *3 | 1 | Forward | A | wildtype | green | 1000 | 31.5 | 40
PGx-NP | GM v 4.1 | N-SPM04 | S4 | CYP3A5 | CYP3A5_001 | CYP3A5 *3 | 1 | Forward | G | mutant | blue | 1000 | 32 | 39
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | 1 | Forward | A | wildtype | green | 1000 | 56 | 59
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | 1 | Forward | C | mutant | black | 1000 | 55 | 58.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | 1 | Forward | T | mutant | red | 1000 | 55.5 | 58.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | 1 | Forward | A | wildtype | green | 1000 | 49.2 | 52
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | 1 | Forward | G | mutant | blue | 1000 | 48.5 | 51.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | 1 | Forward | G | wildtype | blue | 1000 | 67 | 71
PGx-NP | GM v 4.1 | N-SPM05 | S5 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | 1 | Forward | A | mutant | green | 1000 | 67 | 72
PGx-NP | GM v 4.1 | N-SPM05 | S5 | COMT | COMT_001 | COMT rs4680 | 1 | Forward | G | wildtype | blue | 1000 | 43 | 47
PGx-NP | GM v 4.1 | N-SPM05 | S5 | COMT | COMT_001 | COMT rs4680 | 1 | Forward | A | mutant | green | 1000 | 44 | 48.8
PGx-NP | GM v 4.1 | N-SPM05 | S5 | DRD2 | DRD2_001 | DRD2 rs1799732 | 1 | Forward | G | mutant | blue | 1000 | 52 | 55.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | DRD2 | DRD2_001 | DRD2 rs1799732 | 1 | Forward | A | mutant | green | 1000 | 53 | 55
PGx-NP | GM v 4.1 | N-SPM05 | S5 | DRD3 | DRD3_001 | DRD3 rs6280 | 1 | Forward | C | mutant | black | 1000 | 58.7 | 62
PGx-NP | GM v 4.1 | N-SPM05 | S5 | DRD3 | DRD3_001 | DRD3 rs6280 | 1 | Forward | T | mutant | red | 1000 | 59 | 62.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | HTR1A | HTR1A_001 | HTR1A rs6295 | 1 | Forward | C | wildtype | black | 1000 | 35.5 | 38.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | HTR1A | HTR1A_001 | HTR1A rs6295 | 1 | Forward | G | mutant | blue | 1000 | 34 | 38.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | HTR2C | HTR2C_001 | HTR2C rs1414334 | 0 | Reverse | C | wildtype | blue | 1000 | 39 | 42.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | HTR2C | HTR2C_001 | HTR2C rs1414334 | 0 | Reverse | G | mutant | black | 1000 | 38.8 | 42.5
PGx-NP | GM v 4.1 | N-SPM05 | S5 | SCN1A | SCN1A_001 | SCN1A rs3812718 | 1 | Forward | C | wildtype | black | 1000 | 62.5 | 67
PGx-NP | GM v 4.1 | N-SPM05 | S5 | SCN1A | SCN1A_001 | SCN1A rs3812718 | 1 | Forward | T | mutant | red | 1000 | 63 | 68
PGx-NP | GM v 4.1 | N-SPM06 | S6 | CYP1A2 | CYP1A2_001 | CYP1A2 *1F | 1 | Forward | C | wildtype | black | 1000 | 68.5 | 75
PGx-NP | GM v 4.1 | N-SPM06 | S6 | CYP1A2 | CYP1A2_001 | CYP1A2 *1F | 1 | Forward | A | mutant | green | 1000 | 68 | 75
PGx-NP | GM v 4.1 | N-SPM06 | S6 | CYP3A4 | CYP3A4_001 | CYP3A4 *18 | 1 | Forward | T | wildtype | red | 1000 | 36.2 | 42.5
PGx-NP | GM v 4.1 | N-SPM06 | S6 | CYP3A4 | CYP3A4_001 | CYP3A4 *18 | 1 | Forward | C | mutant | black | 1000 | 34 | 39.5
PGx-NP | GM v 4.1 | N-SPM06 | S6 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | 1 | Forward | A | wildtype | green | 1000 | 27 | 33
PGx-NP | GM v 4.1 | N-SPM06 | S6 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | 1 | Forward | G | mutant | blue | 1000 | 25 | 33
PGx-NP | GM v 4.1 | N-SPM06 | S6 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | 1 | Forward | T | mutant | red | 1000 | 26 | 33
PGx-NP | GM v 4.1 | N-SPM06 | S6 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | 1 | Forward | T | wildtype | red | 1000 | 58.5 | 63
PGx-NP | GM v 4.1 | N-SPM06 | S6 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | 1 | Forward | C | mutant | black | 1000 | 57 | 62
PGx-NP | GM v 4.1 | N-SPM06 | S6 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | 1 | Forward | A | wildtype | green | 1000 | 41 | 47
PGx-NP | GM v 4.1 | N-SPM06 | S6 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | 1 | Forward | G | mutant | blue | 1000 | 40 | 45.5
PGx-NP | GM v 4.1 | N-SPM06 | S6 | HTR2A | HTR2A_001 | HTR2A rs7997012 | 1 | Forward | A | wildtype | green | 1000 | 47.5 | 53
PGx-NP | GM v 4.1 | N-SPM06 | S6 | HTR2A | HTR2A_001 | HTR2A rs7997012 | 1 | Forward | G | mutant | blue | 1000 | 47 | 51.5
PGx-NP | GM v 4.1 | N-SPM06 | S6 | MC4R | MC4R_001 | MC4R rs489693 | 1 | Forward | C | wildtype | black | 1000 | 76 | 84
PGx-NP | GM v 4.1 | N-SPM06 | S6 | MC4R | MC4R_001 | MC4R rs489693 | 1 | Forward | A | mutant | green | 1000 | 76 | 83
PGx-NP | GM v 4.1 | N-SPM06 | S6 | MC4R | MC4R_001 | MC4R rs489693 | 1 | Forward | T | mutant | red | 1000 | 76 | 84
PGx-NP | GM v 4.1 | N-SPM06 | S6 | UGT1A4 | UGT1A4_001 | UGT1A4 142T>G | 1 | Forward | T | wildtype | red | 1000 | 63.5 | 69
PGx-NP | GM v 4.1 | N-SPM06 | S6 | UGT1A4 | UGT1A4_001 | UGT1A4 142T>G | 1 | Forward | G | mutant | blue | 1000 | 61 | 67
PGx-NP | GM v 4.1 | N-SPM06 | S6 | UGT2B15 | UGT2B15_001 | UGT2B15 253G>T | 1 | Forward | G | wildtype | blue | 1000 | 51.8 | 57
PGx-NP | GM v 4.1 | N-SPM06 | S6 | UGT2B15 | UGT2B15_001 | UGT2B15 253G>T | 1 | Forward | T | mutant | red | 1000 | 52 | 58

## allele_table
sample | gene | marker | label | panel | direction | base | basetype | min_bin | max_bin | min_height | is_forward | data_chanel | is_detected | peak | size | height | status | message | color
20220609-116-5093 | CYP2D6 | CYP2D6_001 | CYP2D6 *14 | S1 | Forward | G | wildtype | 25 | 35 | 1000 | 1 | DATA1 | TRUE | 36 | 29.12 | 1227 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_001 | CYP2D6 *14 | S1 | Forward | A | mutant | 27 | 36 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_002 | CYP2D6 *10B | S1 | Forward | C | wildtype | 28 | 38 | 1000 | 1 | DATA3 | TRUE | 41 | 32.57 | 1707 | ok |  | black
20220609-116-5093 | CYP2D6 | CYP2D6_002 | CYP2D6 *10B | S1 | Forward | T | mutant | 31 | 37 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_003 | CYP2D6 *49 | S1 | Reverse | T | wildtype | 37 | 44 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_003 | CYP2D6 *49 | S1 | Reverse | A | mutant | 39 | 45 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_004 | CYP2D6 *21 | S1 | Forward | G | wildtype | 41 | 45 | 1000 | 1 | DATA1 | TRUE | 17 | 42.79 | 2783 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_004 | CYP2D6 *21 | S1 | Forward | C | mutant | 42 | 49 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP2D6 | CYP2D6_005 | CYP2D6 *41 | S1 | Forward | G | wildtype | 45.1 | 50 | 1000 | 1 | DATA1 | TRUE | 17 | 46.96 | 1258 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_005 | CYP2D6 *41 | S1 | Forward | A | mutant | 47 | 50 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_006 | CYP2D6 *52 | S1 | Reverse | G | wildtype | 50 | 53 | 1000 | 0 | DATA3 | TRUE | 20 | 52.07 | 2734 | ok |  | black
20220609-116-5093 | CYP2D6 | CYP2D6_006 | CYP2D6 *52 | S1 | Reverse | A | mutant | 50 | 55 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_007 | CYP2D6 *18 | S1 | Forward | G | wildtype | 53 | 57 | 1000 | 1 | DATA1 | TRUE | 16 | 54.68 | 1625 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_007 | CYP2D6 *18 | S1 | Forward | T | mutant | 55.1 | 59 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_008 | CYP2D6 *2 | S1 | Reverse | C | wildtype | 57.1 | 62 | 1000 | 0 | DATA1 | TRUE | 28 | 59.93 | 2622 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_008 | CYP2D6 *2 | S1 | Reverse | T | mutant | 59 | 63 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_009 | CYP2D6 *60 | S1 | Reverse | G | wildtype | 63 | 68 | 1000 | 0 | DATA3 | TRUE | 33 | 66.24 | 1976 | ok |  | black
20220609-116-5093 | CYP2D6 | CYP2D6_009 | CYP2D6 *60 | S1 | Reverse | A | mutant | 65 | 68 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_010 | CYP2D6 *5 | S1 | Reverse | A | wildtype | 68.1 | 73 | 1000 | 0 | DATA4 | TRUE | 39 | 71.87 | 3217 | ok |  | red
20220609-116-5093 | CYP2D6 | CYP2D6_010 | CYP2D6 *5 | S1 | Reverse | G | mutant | 68.1 | 73 | 1000 | 0 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP2D6 | CYP2D6_011 | CYP2D6 *4 | S2 | Forward | G | wildtype | 30 | 34 | 1000 | 1 | DATA1 | TRUE | 5 | 30.57 | 1407 | ok |  | blue
20220609-116-5093 | CYP2D6 | CYP2D6_011 | CYP2D6 *4 | S2 | Forward | A | mutant | 31.5 | 35.5 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_012 | CYP2D6 *3 | S2 | Forward | A | wildtype | 36 | 38.5 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_012 | CYP2D6 *3 | S2 | Forward | G | mutant | 36.5 | 38.8 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | CYP2D6 | CYP2D6_013 | CYP2D6 *17 | S2 | Forward | C | wildtype | 39 | 43.5 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP2D6 | CYP2D6_013 | CYP2D6 *17 | S2 | Forward | T | mutant | 37.5 | 45 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_014 | CYP2D6 *9 | S2 | Forward | A | wildtype | 42 | 46.3 | 1000 | 1 | DATA2 | TRUE | 22 | 44.38 | 3153 | ok |  | green
20220609-116-5093 | CYP2D6 | CYP2D6_014 | CYP2D6 *9 | S2 | Forward | G | mutant | 44.5 | 47 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | CYP2D6 | CYP2D6_015 | CYP2D6 *6 | S2 | Reverse | T | wildtype | 47.2 | 52 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2D6 | CYP2D6_015 | CYP2D6 *6 | S2 | Reverse | G | mutant | 46.5 | 51 | 1000 | 0 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP2D6 | CYP2D6_016 | CYP2D6 *29 | S2 | Reverse | G | wildtype | 52 | 57 | 1000 | 0 | DATA3 | TRUE | 14 | 53.42 | 4533 | ok |  | black
20220609-116-5093 | CYP2D6 | CYP2D6_016 | CYP2D6 *29 | S2 | Reverse | A | mutant | 51 | 58 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2D6 | CYP2D6_017 | CYP2D6 *XN | S2 | Reverse | G | wildtype | 68.5 | 73 | 1000 | 0 | DATA3 | TRUE | 22 | 70.66 | 2433 | ok |  | black
20220609-116-5093 | CYP2D6 | CYP2D6_017 | CYP2D6 *XN | S2 | Reverse | A | mutant | 70 | 74 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | S2 | Forward | A | wildtype | 57.5 | 66 | 1000 | 1 | DATA2 | TRUE | 31 | 60.59 | 15017 | ok |  | green
20220609-116-5093 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | S2 | Forward | G | mutant | 57 | 65 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | HLA-A | HLA-A_001 | HLA-A 368G>A | S3 | Forward | G | wildtype | 35 | 41.5 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | HLA-A | HLA-A_001 | HLA-A 368G>A | S3 | Forward | A | mutant | 36 | 40 | 1000 | 1 | DATA2 | TRUE | 6 | 36.72 | 5130 | ok |  | green
20220609-116-5093 | HLA-A | HLA-A_002 | HLA-A 954T>C | S3 | Reverse | T | wildtype | 41 | 45 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | HLA-A | HLA-A_002 | HLA-A 954T>C | S3 | Reverse | C | mutant | 42 | 45 | 1000 | 0 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | HLA-A | HLA-A_003 | HLA-A 536G>A | S3 | Reverse | G | wildtype | 42.5 | 46.4 | 1000 | 0 | DATA3 | TRUE | 7 | 43.25 | 3357 | ok |  | black
20220609-116-5093 | HLA-A | HLA-A_003 | HLA-A 536G>A | S3 | Reverse | A | mutant | 43 | 47.5 | 1000 | 0 | DATA4 | TRUE | 15 | 44.61 | 6759 | ok |  | red
20220609-116-5093 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | S3 | Reverse | T | wildtype | 47 | 52 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | S3 | Reverse | C | mutant | 46.5 | 51 | 1000 | 0 | DATA1 | TRUE | 8 | 47.43 | 6605 | ok |  | blue
20220609-116-5093 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | S3 | Reverse | A | mutant | 48 | 53.5 | 1000 | 0 | DATA4 | TRUE | 25 | 50.61 | 2339 | ok |  | red
20220609-116-5093 | HLA-B | HLA-B_001 | HLA-B 384C>G | S3 | Forward | C | wildtype | 53 | 56.5 | 1000 | 1 | DATA3 | TRUE | 11 | 54.16 | 12308 | ok |  | black
20220609-116-5093 | HLA-B | HLA-B_001 | HLA-B 384C>G | S3 | Forward | G | mutant | 52.8 | 56 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | HLA-B | HLA-B_002 | HLA-B 667G>A | S3 | Forward | G | wildtype | 56.5 | 59.2 | 1000 | 1 | DATA1 | TRUE | 15 | 58.06 | 9942 | ok |  | blue
20220609-116-5093 | HLA-B | HLA-B_002 | HLA-B 667G>A | S3 | Forward | A | mutant | 57.3 | 59.5 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | HLA-B | HLA-B_003 | HLA-B 2156A>T | S3 | Reverse | A | wildtype | 59 | 65 | 1000 | 0 | DATA4 | TRUE | 29 | 61.91 | 4500 | ok |  | red
20220609-116-5093 | HLA-B | HLA-B_003 | HLA-B 2156A>T | S3 | Reverse | T | mutant | 59.7 | 62 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2B6 | CYP2B6_001 | CYP2B6 *4 | S4 | Reverse | A | wildtype | 61 | 65 | 1000 | 0 | DATA4 | TRUE | 10 | 61.98 | 6617 | ok |  | red
20220609-116-5093 | CYP2B6 | CYP2B6_001 | CYP2B6 *4 | S4 | Reverse | G | mutant | 60.5 | 64 | 1000 | 0 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP2B6 | CYP2B6_002 | CYP2B6 *9 | S4 | Reverse | G | wildtype | 64.5 | 68 | 1000 | 0 | DATA3 | TRUE | 18 | 66.26 | 1451 | ok |  | black
20220609-116-5093 | CYP2B6 | CYP2B6_002 | CYP2B6 *9 | S4 | Reverse | T | mutant | 64.5 | 67 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2C19 | CYP2C19_001 | CYP2C19 *17 | S4 | Forward | C | wildtype | 37.5 | 41.2 | 1000 | 1 | DATA3 | TRUE | 14 | 39.07 | 1626 | ok |  | black
20220609-116-5093 | CYP2C19 | CYP2C19_001 | CYP2C19 *17 | S4 | Forward | T | mutant | 37 | 41 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2C19 | CYP2C19_002 | CYP2C19 *2 | S4 | Forward | G | wildtype | 47 | 50 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | CYP2C19 | CYP2C19_002 | CYP2C19 *2 | S4 | Forward | A | mutant | 47.5 | 50.5 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2C19 | CYP2C19_003 | CYP2C19 *3 | S4 | Reverse | G | wildtype | 56.5 | 60 | 1000 | 0 | DATA3 | TRUE | 14 | 57.93 | 2394 | ok |  | black
20220609-116-5093 | CYP2C19 | CYP2C19_003 | CYP2C19 *3 | S4 | Reverse | A | mutant | 57 | 60.5 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2C9 | CYP2C9_001 | CYP2C9 *3 | S4 | Reverse | A | wildtype | 44.3 | 49.2 | 1000 | 0 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP2C9 | CYP2C9_001 | CYP2C9 *3 | S4 | Reverse | C | mutant | 42 | 46.5 | 1000 | 0 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | CYP2C9 | CYP2C9_002 | CYP2C9 *13 | S4 | Forward | T | wildtype | 49.5 | 55 | 1000 | 1 | DATA4 | TRUE | 19 | 51.5 | 1922 | ok |  | red
20220609-116-5093 | CYP2C9 | CYP2C9_002 | CYP2C9 *13 | S4 | Forward | C | mutant | 49 | 55 | 1000 | 1 | DATA3 | TRUE | 50 | 54.13 | 15646 | ok |  | black
20220609-116-5093 | CYP2C9 | CYP2C9_003 | CYP2C9 *14 | S4 | Forward | G | wildtype | 51.5 | 56.5 | 1000 | 1 | DATA1 | TRUE | 21 | 53.63 | 1395 | ok |  | blue
20220609-116-5093 | CYP2C9 | CYP2C9_003 | CYP2C9 *14 | S4 | Forward | A | mutant | 51 | 57 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP2C9 | CYP2C9_004 | CYP2C9 *2 | S4 | Reverse | C | wildtype | 66 | 70 | 1000 | 0 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | CYP2C9 | CYP2C9_004 | CYP2C9 *2 | S4 | Reverse | T | mutant | 67.5 | 71 | 1000 | 0 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP3A4 | CYP3A4_002 | CYP3A4 *22 | S4 | Forward | C | wildtype | 40 | 44.5 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | CYP3A4 | CYP3A4_002 | CYP3A4 *22 | S4 | Forward | T | mutant | 40.5 | 43.5 | 1000 | 1 | DATA4 | TRUE | 22 | 42.9 | 2291 | ok |  | red
20220609-116-5093 | CYP3A5 | CYP3A5_001 | CYP3A5 *3 | S4 | Forward | A | wildtype | 31.5 | 40 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | CYP3A5 | CYP3A5_001 | CYP3A5 *3 | S4 | Forward | G | mutant | 32 | 39 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | S5 | Forward | A | wildtype | 56 | 59 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | S5 | Forward | C | mutant | 55 | 58.5 | 1000 | 1 | DATA3 | TRUE | 16 | 56.62 | 5003 | ok |  | black
20220609-116-5093 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | S5 | Forward | T | mutant | 55.5 | 58.5 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | S5 | Forward | A | wildtype | 49.2 | 52 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | S5 | Forward | G | mutant | 48.5 | 51.5 | 1000 | 1 | DATA1 | TRUE | 10 | 49.57 | 7497 | ok |  | blue
20220609-116-5093 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | S5 | Forward | G | wildtype | 67 | 71 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | S5 | Forward | A | mutant | 67 | 72 | 1000 | 1 | DATA2 | TRUE | 23 | 69.26 | 3029 | ok |  | green
20220609-116-5093 | COMT | COMT_001 | COMT rs4680 | S5 | Forward | G | wildtype | 43 | 47 | 1000 | 1 | DATA1 | TRUE | 1 | 43.17 | 4947 | ok |  | blue
20220609-116-5093 | COMT | COMT_001 | COMT rs4680 | S5 | Forward | A | mutant | 44 | 48.8 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | DRD2 | DRD2_001 | DRD2 rs1799732 | S5 | Forward | G | mutant | 52 | 55.5 | 1000 | 1 | DATA1 | TRUE | 5 | 52.56 | 3588 | ok |  | blue
20220609-116-5093 | DRD2 | DRD2_001 | DRD2 rs1799732 | S5 | Forward | A | mutant | 53 | 55 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | DRD3 | DRD3_001 | DRD3 rs6280 | S5 | Forward | C | mutant | 58.7 | 62 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | DRD3 | DRD3_001 | DRD3 rs6280 | S5 | Forward | T | mutant | 59 | 62.5 | 1000 | 1 | DATA4 | TRUE | 23 | 61.32 | 3945 | ok |  | red
20220609-116-5093 | HTR1A | HTR1A_001 | HTR1A rs6295 | S5 | Forward | C | wildtype | 35.5 | 38.5 | 1000 | 1 | DATA3 | TRUE | 10 | 36.7 | 2242 | ok |  | black
20220609-116-5093 | HTR1A | HTR1A_001 | HTR1A rs6295 | S5 | Forward | G | mutant | 34 | 38.5 | 1000 | 1 | DATA1 | TRUE | 12 | 35.38 | 2186 | ok |  | blue
20220609-116-5093 | HTR2C | HTR2C_001 | HTR2C rs1414334 | S5 | Reverse | C | wildtype | 39 | 42.5 | 1000 | 0 | DATA1 | TRUE | 8 | 39.96 | 12653 | ok |  | blue
20220609-116-5093 | HTR2C | HTR2C_001 | HTR2C rs1414334 | S5 | Reverse | G | mutant | 38.8 | 42.5 | 1000 | 0 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | SCN1A | SCN1A_001 | SCN1A rs3812718 | S5 | Forward | C | wildtype | 62.5 | 67 | 1000 | 1 | DATA3 | TRUE | 24 | 64.87 | 2114 | ok |  | black
20220609-116-5093 | SCN1A | SCN1A_001 | SCN1A rs3812718 | S5 | Forward | T | mutant | 63 | 68 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | CYP1A2 | CYP1A2_001 | CYP1A2 *1F | S6 | Forward | C | wildtype | 68.5 | 75 | 1000 | 1 | DATA3 | TRUE | 24 | 70.86 | 2092 | ok |  | black
20220609-116-5093 | CYP1A2 | CYP1A2_001 | CYP1A2 *1F | S6 | Forward | A | mutant | 68 | 75 | 1000 | 1 | DATA2 | TRUE | 32 | 71.05 | 3488 | ok |  | green
20220609-116-5093 | CYP3A4 | CYP3A4_001 | CYP3A4 *18 | S6 | Forward | T | wildtype | 36.2 | 42.5 | 1000 | 1 | DATA4 | TRUE | 9 | 37.18 | 7697 | ok |  | red
20220609-116-5093 | CYP3A4 | CYP3A4_001 | CYP3A4 *18 | S6 | Forward | C | mutant | 34 | 39.5 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | S6 | Forward | A | wildtype | 27 | 33 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | S6 | Forward | G | mutant | 25 | 33 | 1000 | 1 | DATA1 | TRUE | 43 | 29.93 | 1559 | ok |  | blue
20220609-116-5093 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | S6 | Forward | T | mutant | 26 | 33 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | S6 | Forward | T | wildtype | 58.5 | 63 | 1000 | 1 | DATA4 | TRUE | 20 | 60.55 | 2492 | ok |  | red
20220609-116-5093 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | S6 | Forward | C | mutant | 57 | 62 | 1000 | 1 | DATA3 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | black
20220609-116-5093 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | S6 | Forward | A | wildtype | 41 | 47 | 1000 | 1 | DATA2 | TRUE | 20 | 43.13 | 2922 | ok |  | green
20220609-116-5093 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | S6 | Forward | G | mutant | 40 | 45.5 | 1000 | 1 | DATA1 | TRUE | 15 | 41.66 | 1420 | ok |  | blue
20220609-116-5093 | HTR2A | HTR2A_001 | HTR2A rs7997012 | S6 | Forward | A | wildtype | 47.5 | 53 | 1000 | 1 | DATA2 | TRUE | 20 | 49.55 | 3324 | ok |  | green
20220609-116-5093 | HTR2A | HTR2A_001 | HTR2A rs7997012 | S6 | Forward | G | mutant | 47 | 51.5 | 1000 | 1 | DATA1 | TRUE | 15 | 48.63 | 1976 | ok |  | blue
20220609-116-5093 | MC4R | MC4R_001 | MC4R rs489693 | S6 | Forward | C | wildtype | 76 | 84 | 1000 | 1 | DATA3 | TRUE | 26 | 78.48 | 3860 | ok |  | black
20220609-116-5093 | MC4R | MC4R_001 | MC4R rs489693 | S6 | Forward | A | mutant | 76 | 83 | 1000 | 1 | DATA2 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | green
20220609-116-5093 | MC4R | MC4R_001 | MC4R rs489693 | S6 | Forward | T | mutant | 76 | 84 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red
20220609-116-5093 | UGT1A4 | UGT1A4_001 | UGT1A4 142T>G | S6 | Forward | T | wildtype | 63.5 | 69 | 1000 | 1 | DATA4 | TRUE | 27 | 66.18 | 1561 | ok |  | red
20220609-116-5093 | UGT1A4 | UGT1A4_001 | UGT1A4 142T>G | S6 | Forward | G | mutant | 61 | 67 | 1000 | 1 | DATA1 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | blue
20220609-116-5093 | UGT2B15 | UGT2B15_001 | UGT2B15 253G>T | S6 | Forward | G | wildtype | 51.8 | 57 | 1000 | 1 | DATA1 | TRUE | 3 | 52.2 | 4458 | ok |  | blue
20220609-116-5093 | UGT2B15 | UGT2B15_001 | UGT2B15 253G>T | S6 | Forward | T | mutant | 52 | 58 | 1000 | 1 | DATA4 | FALSE |  |  |  |  | Peak(s) could not be detected. Please check peak ranges if required! | red

## marker_table
sample | gene | marker | label | panel | direction | genotype | phenotype
20220609-116-5093 | CYP2D6 | CYP2D6_001 | CYP2D6 *14 | S1 | Forward | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_002 | CYP2D6 *10B | S1 | Forward | CC | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_003 | CYP2D6 *49 | S1 | Reverse
20220609-116-5093 | CYP2D6 | CYP2D6_004 | CYP2D6 *21 | S1 | Forward | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_005 | CYP2D6 *41 | S1 | Forward | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_006 | CYP2D6 *52 | S1 | Reverse | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_007 | CYP2D6 *18 | S1 | Forward | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_008 | CYP2D6 *2 | S1 | Reverse | CC | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_009 | CYP2D6 *60 | S1 | Reverse | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_010 | CYP2D6 *5 | S1 | Reverse | AA | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_011 | CYP2D6 *4 | S2 | Forward | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_012 | CYP2D6 *3 | S2 | Forward
20220609-116-5093 | CYP2D6 | CYP2D6_013 | CYP2D6 *17 | S2 | Forward
20220609-116-5093 | CYP2D6 | CYP2D6_014 | CYP2D6 *9 | S2 | Forward | AA | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_015 | CYP2D6 *6 | S2 | Reverse
20220609-116-5093 | CYP2D6 | CYP2D6_016 | CYP2D6 *29 | S2 | Reverse | GG | wildtype
20220609-116-5093 | CYP2D6 | CYP2D6_017 | CYP2D6 *XN | S2 | Reverse | GG | wildtype
20220609-116-5093 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | S2 | Forward | AA | wildtype
20220609-116-5093 | HLA-A | HLA-A_001 | HLA-A 368G>A | S3 | Forward | AA | homozygous mutant
20220609-116-5093 | HLA-A | HLA-A_002 | HLA-A 954T>C | S3 | Reverse
20220609-116-5093 | HLA-A | HLA-A_003 | HLA-A 536G>A | S3 | Reverse | GA | heterozygous
20220609-116-5093 | HLA-A | HLA-A_004 | HLA-A 593T>C/A | S3 | Reverse | CA | homozygous mutant
20220609-116-5093 | HLA-B | HLA-B_001 | HLA-B 384C>G | S3 | Forward | CC | wildtype
20220609-116-5093 | HLA-B | HLA-B_002 | HLA-B 667G>A | S3 | Forward | GG | wildtype
20220609-116-5093 | HLA-B | HLA-B_003 | HLA-B 2156A>T | S3 | Reverse | AA | wildtype
20220609-116-5093 | CYP2B6 | CYP2B6_001 | CYP2B6 *4 | S4 | Reverse | AA | wildtype
20220609-116-5093 | CYP2B6 | CYP2B6_002 | CYP2B6 *9 | S4 | Reverse | GG | wildtype
20220609-116-5093 | CYP2C19 | CYP2C19_001 | CYP2C19 *17 | S4 | Forward | CC | wildtype
20220609-116-5093 | CYP2C19 | CYP2C19_002 | CYP2C19 *2 | S4 | Forward
20220609-116-5093 | CYP2C19 | CYP2C19_003 | CYP2C19 *3 | S4 | Reverse | GG | wildtype
20220609-116-5093 | CYP2C9 | CYP2C9_001 | CYP2C9 *3 | S4 | Reverse
20220609-116-5093 | CYP2C9 | CYP2C9_002 | CYP2C9 *13 | S4 | Forward | TC | heterozygous
20220609-116-5093 | CYP2C9 | CYP2C9_003 | CYP2C9 *14 | S4 | Forward | GG | wildtype
20220609-116-5093 | CYP2C9 | CYP2C9_004 | CYP2C9 *2 | S4 | Reverse
20220609-116-5093 | CYP3A4 | CYP3A4_002 | CYP3A4 *22 | S4 | Forward | TT | homozygous mutant
20220609-116-5093 | CYP3A5 | CYP3A5_001 | CYP3A5 *3 | S4 | Forward
20220609-116-5093 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | S5 | Forward | CC | homozygous mutant
20220609-116-5093 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | S5 | Forward | GG | homozygous mutant
20220609-116-5093 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | S5 | Forward | AA | homozygous mutant
20220609-116-5093 | COMT | COMT_001 | COMT rs4680 | S5 | Forward | GG | wildtype
20220609-116-5093 | DRD2 | DRD2_001 | DRD2 rs1799732 | S5 | Forward | GG | homozygous mutant
20220609-116-5093 | DRD3 | DRD3_001 | DRD3 rs6280 | S5 | Forward | TT | homozygous mutant
20220609-116-5093 | HTR1A | HTR1A_001 | HTR1A rs6295 | S5 | Forward | CG | heterozygous
20220609-116-5093 | HTR2C | HTR2C_001 | HTR2C rs1414334 | S5 | Reverse | CC | wildtype
20220609-116-5093 | SCN1A | SCN1A_001 | SCN1A rs3812718 | S5 | Forward | CC | wildtype
20220609-116-5093 | CYP1A2 | CYP1A2_001 | CYP1A2 *1F | S6 | Forward | CA | heterozygous
20220609-116-5093 | CYP3A4 | CYP3A4_001 | CYP3A4 *18 | S6 | Forward | TT | wildtype
20220609-116-5093 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | S6 | Forward | GG | homozygous mutant
20220609-116-5093 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | S6 | Forward | TT | wildtype
20220609-116-5093 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | S6 | Forward | AG | heterozygous
20220609-116-5093 | HTR2A | HTR2A_001 | HTR2A rs7997012 | S6 | Forward | AG | heterozygous
20220609-116-5093 | MC4R | MC4R_001 | MC4R rs489693 | S6 | Forward | CC | wildtype
20220609-116-5093 | UGT1A4 | UGT1A4_001 | UGT1A4 142T>G | S6 | Forward | TT | wildtype
20220609-116-5093 | UGT2B15 | UGT2B15_001 | UGT2B15 253G>T | S6 | Forward | GG | wildtype

## genotype_result
sample | gene | marker | label | genotype
20220609-116-5093 | CYP2D6
20220609-116-5093 | OPRM1 | OPRM1_001 | OPRM1 rs1799971 | AA
20220609-116-5093 | HLA-A
20220609-116-5093 | HLA-B |  |  | other/other
20220609-116-5093 | CYP2B6 |  |  | *1/*1
20220609-116-5093 | CYP2C19
20220609-116-5093 | CYP2C9
20220609-116-5093 | CYP3A4 |  |  | *22/*22
20220609-116-5093 | CYP3A5
20220609-116-5093 | ABCB1 | ABCB1_001 | ABCB1 rs2032582 | CC
20220609-116-5093 | ABCB1 | ABCB1_002 | ABCB1 rs1045642 | GG
20220609-116-5093 | ANKK1 | ANKK1_001 | ANKK1 rs1800497 | AA
20220609-116-5093 | COMT | COMT_001 | COMT rs4680 | GG
20220609-116-5093 | DRD2 | DRD2_001 | DRD2 rs1799732 | GG
20220609-116-5093 | DRD3 | DRD3_001 | DRD3 rs6280 | TT
20220609-116-5093 | HTR1A | HTR1A_001 | HTR1A rs6295 | CG
20220609-116-5093 | HTR2C | HTR2C_001 | HTR2C rs1414334 | CC
20220609-116-5093 | SCN1A | SCN1A_001 | SCN1A rs3812718 | CC
20220609-116-5093 | CYP1A2 |  |  | *1A/*1F
20220609-116-5093 | EPHX1 | EPHX1_001 | EPHX1 rs2234922 | GG
20220609-116-5093 | EPHX1 | EPHX1_002 | EPHX1 rs1051740 | TT
20220609-116-5093 | FKBP5 | FKBP5_001 | FKBP5 rs4713916 | AG
20220609-116-5093 | HTR2A | HTR2A_001 | HTR2A rs7997012 | AG
20220609-116-5093 | MC4R | MC4R_001 | MC4R rs489693 | CC
20220609-116-5093 | UGT1A4 |  |  | *1/*1
20220609-116-5093 | UGT2B15 |  |  | *1/*1